{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet2"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet2","index":0,"n_rows":12,"n_cols":6,"rows_kept":12,"merged":[[0,0,0,5]],"flags":["formulas_cached_only"]}
["广州中科检测技术服务有限公司仪器设备采购清单"]
["编号","仪器名称","数量","单位","关键配置","备注"]
[1,"气相色谱质谱仪",1,"台","顶空进样器；带UPS电源"]
[2,"气相色谱质谱仪吹扫捕集仪",1,"台"]
[3,"气相色谱仪",1,"台","顶空进样器；             ECD、FPD、FID检测器"]
[4,"高效液相色谱仪",1,"台","二极管阵列检测器"]
[5,"原子荧光光度计",1,"台","5个元素灯"]
[6,"离子色谱仪（IC）电导检测器",1,"个"]
[7,"气相色谱质谱仪裂解器",1,"个"]
[8,"大颗粒气溶胶发生器",1,"台","电中和装置；过滤器；     备用电离针"]
[9,"液相色谱仪",1,"台","紫外检测器；            四元低压梯度单元"]
[10,"气相色谱仪",1,"台","顶空进样器；            FID、ECD检测器"]